## 1. Introduction
1. Introduction to School Energy Assessment (SEA) Form
This form will help you collect information that enables you to assess your school facility conditions and capture important details on the heating, ventilation and air conditioning (HVAC) system, lighting system, and building construction properties. Collecting this information is an important step in identifying potential retrofit opportunities, or "Energy Conservation Measures" (ECMs), for your school. Follow the step-by-step instructions below, or refer to the flow chart on the right, to enter building information. The SEA form creates a simple Facility Conditions Report in Tab 2, a useful reference summarizing the school building's equipment, construction properties, and conditions, that help you consider retrofit opportunities. Tab 2 can be printed to paper and printed, or saved as a .pdf file. The SEA form can also be used with the U.S. Department of Energy's Quick Building Assessment Tool (QBAT) in the Building Energy Asset Score (Asset Score) platform, at buildingenergyscore.energy.gov. Asset Score is a web-based software application that assesses building energy performance and identifies opportunities for efficiency improvements. QBAT is a simplified version of Asset Score for school facilities that assesses energy performance under standardized operational conditions. QBAT provides users with potential energy-saving opportunities based on existing equipment and simulated energy performance, generating a report that includes actionable retrofit opportunity information, including estimated savings, health, and safety benefits. QBAT also includes an ECM Cost Estimates tool that provides estimated cost ranges for implementing ECMs. For questions or technical assistance with filling out the SEA form please email: SEAFormHelp@lbl.gov.
Access the U.S. Department of Energy's Asset Score and Quick Building Assessment Tool
Access Quick Building Assessment Tool User Guide
Filling out the SEA form and generating a Facility Conditions Report
_ | If you have a building manager or operator for your school, work with them to collect the building information needed for this assessment. If you don't have a building manager, fill out the tabs to the best of your ability.
_ | In this form, required fields are indicated with light blue shading and dark blue border. Optional fields are indicated with light green shading and dark blue border. All other cells are locked and are for reference only.
|  | required field | optional field
_ | Tabs in this form where you will enter your building information are color-coded blue. All blue fields in these tabs must be filled out for a complete conditions report. The white Guide tabs provide information and illustrations to help identify equipment for which information is collected in the blue tabs. The Guide tabs can be printed out and used as references during collection of facility information. After all the information in the blue tabs has been completed, the orange tab will contain the completed Facilities Conditions Report.
_ | After completing the SEA form, the Facility Conditions Report in Tab 2 can be printed to paper, as well as printed or saved as a .pdf file, to serve as a useful reference on your facility's conditions and retrofit opportunities.
* | Tab 7 (Building Energy) is an optional tab not required for the assessment, but it is useful for summarizing your facility's energy performance if energy usage information such as that provided in utility bills is available.
Generating the QBAT Report after the SEA form is complete
_ | Navigate to the Asset Score website (linked below) to create an account. Then log in, and from the right-most "Asset Score" tab on the home page, click on the green “Quick Building Assessment Tool” button on the top right.
https://buildingenergyscore.energy.gov/
_ | In the Quick Building Assessment Tool dialogue box that appears, enter your school building information by uploading the SEA form for your facility using the green upload button, following the prompts to choose the SEA form file on your computer and click Upload. Before uploading the SEA form file, make sure you have saved the file with all the blue fields completed. If fields are incomplete in the SEA form, the upload process will flag errors in the SEA form that need to be corrected. Alternately you can manually fill out the fields below the "Upload School Energy Assessment Form" button and click "Create Building." Refer to section 1 of the Facility Conditions Report tab for the info to enter.
_ | Click on the green “Prepare Submission” button on the bottom right-hand side of Quick Building Assessment Tool dialogue box. Then select the Retrofit Measures you want to include in your submission, reviewing and selecting options in the tabs for Envelope, Heating & Cooling, Lighting, and Water Heaters. After selecting all desired retrofit measures, click the green "Submit Building" button at the bottom of the dialogue box.
_ | You will be notified that your building has been submitted for simulation, and that you will receive an email once your QBAT report is ready for download. Click on the link in the email when it arrives to get to the Quick Building Assessment Tool Summary page.
_ | Download the QBAT Report from the “DOWNLOAD QBAT Report.zip” button in the top right.
NOTE: The existing capabilities of QBAT do not incorporate all information from the SEA form parameters for lighting fixtures, window performance, or HVAC controls. As a result, the measure recommendations from QBAT may not consistently align with the SEA form parameters. To address this, users have the flexibility to either refrain from selecting these measure recommendations or manually supplementing their building information using the Building Energy Asset Score user interface.
_ | ECM recommendations can be found in the QBAT Report, along with health and safety benefits associated with each measure. You can click on the “learn more” buttons to get additional contextual information for each ECM.
_ | Download the ECM Cost Estimates spreadsheet from the same zip folder download as the QBAT report.
_ | Open the ECM Cost Estimates spreadsheet and follow the instructions in the first tab to enter your building's data and select your ECMs. The ECM Cost Estimates spreadsheet has cost estimates for all measures that may be recommended in the report. Select ECMs from the Asset Score Report in the spreadsheet tool to get cost estimates for your building. Each selected measure will have additional guidance below the cost estimates, with information about when measures apply and assumptions made in the calculations.
For multiple schools/buildings, create one account and repeat, starting at Step 2.
For more information on how to use the Quick Building Assessment Tool and the ECM Cost Estimates, please click the following link:
Quick Building Assessment Tool User Guide

## 2. Facility Conditions Report
2. Facility Conditions Report
Once you have entered information into all of the required fields in the blue tabs, this sheet will automatically be filled in with your school's information. It serves as a simple facility conditions report. The fields below in section 1, General Facility Information, can be used to manually enter your school's information into the Quick Building Assessment Tool (QBAT) if desired. In section 2, Facility Conditions information is summarized; this may be useful when considering retrofit opportunities. See instructions in the Introduction tab for more information. This tab can also be printed or saved as a .pdf file to generate a handy one-page report for reference.
NOTE if entering info into the QBAT: The existing capabilities of QBAT do not incorporate all information from the SEA Form parameters for lighting fixtures, window performance, or HVAC controls. As a result, the measure recommendations from QBAT may not consistently align with the SEA Form parameters. To address this, users have the flexibility to either refrain from selecting these measure recommendations or manually supplement their building information using the Building Energy Asset Score user interface.
* | The fields below will populate with correct values after all tabs have been completed, and will show "Facility Info Not Entered" prior to completion of other tabs. Equipment condition cells are shaded for easier reference.
1) General Facility Information
|  | Building/School name |  | Facility Info Not Yet Entered
|  | Year completed |  | Facility Info Not Yet Entered
|  | Building shape |  | Facility Info Not Yet Entered
|  | Conditioned area above + below grade (ft2) |  | Facility Info Not Yet Entered
|  | Conditioned area above grade (ft2, use in QBAT) |  | Facility Info Not Yet Entered
|  | Total number of conditioned floors |  | Facility Info Not Yet Entered
|  | Predominant HVAC system type |  | Facility Info Not Yet Entered
|  | Street address |  | Facility Info Not Yet Entered
|  | City |  | Facility Info Not Yet Entered
|  | State |  | Facility Info Not Yet Entered
|  | Zip code |  | Facility Info Not Yet Entered
The above fields are the required fields for manual entry of school building in the Quick Building Assessment Tool (QBAT)
|  | Data collected by |  | Facility Info Not Yet Entered
|  | Email, phone |  | Facility Info Not Yet Entered
|  | Date of Data Collection |  | Facility Info Not Yet Entered
2) Facility Conditions
HVAC and Hot Water System
|  | Heating fuel type |  | Facility Info Not Yet Entered
|  | HVAC System type |  | Facility Info Not Yet Entered
|  | Equipment age |  | Facility Info Not Yet Entered
|  | HVAC System condition |  | Facility Info Not Yet Entered
|  | HVAC Controls |  | Facility Info Not Yet Entered
|  | Thermostats, switches |  | Facility Info Not Yet Entered
|  | Service hot water system |  | Facility Info Not Yet Entered
|  | Hot water system condition |  | Facility Info Not Yet Entered
Construction Properties
|  | Roof type |  | Facility Info Not Yet Entered
|  | Roof condition |  | Facility Info Not Yet Entered
|  | Floor type |  | Facility Info Not Yet Entered
|  | Wall type |  | Facility Info Not Yet Entered
|  | Window framing type |  | Facility Info Not Yet Entered
|  | Window glass type |  | Facility Info Not Yet Entered
|  | Window condition |  | Facility Info Not Yet Entered
|  | Window to wall ratio (if known) |  | Optional Field
Lighting
|  | Classroom: Equipment |  | Facility Info Not Yet Entered
|  | Classroom: Condition |  | Facility Info Not Yet Entered
|  | Support (offices, admin, etc.): Equipment |  | Facility Info Not Yet Entered
|  | Support (offices, admin, etc.): Condition |  | Facility Info Not Yet Entered
|  | High ceiling (gym, audit., etc.): Equipment |  | Facility Info Not Yet Entered
|  | High ceiling (gym, audit., etc.): Condition |  | Facility Info Not Yet Entered
|  | Circulation Areas: Equipment |  | Facility Info Not Yet Entered
|  | Circulation Areas: Condition |  | Facility Info Not Yet Entered
|  | Exterior / Site: Equipment |  | Facility Info Not Yet Entered
|  | Exterior / Site: Condition |  | Facility Info Not Yet Entered
Lighting Controls
|  | Interior |  | Facility Info Not Yet Entered
|  | Exterior / Site |  | Facility Info Not Yet Entered
Energy Intensity (if known)
|  |  | Building EUI (kBtu / ft2) | Optional Field
| HVAC System number you selected |  |  |  | Enter this for Quick Building Assessment Tool Input
| 1 |  | VAV with Hot-Water Reheat |  | 3 | VAV with Hot-Water Reheat
| 2 |  | Four Pipe Fan Coil Unit |  | 1 | Four Pipe Fan Coil Unit
| 3 |  | Window AC + Baseboard (baseboard, window AC, boiler) |  | 4 | Window AC + Baseboard
| 4 |  | Packaged VAV with Hot Water Reheat |  | 2 | Packaged Rooftop Air Conditioner
| 5 |  | VAVs with electric reheat |  | 5 | Packaged Heat Pump
| 6 |  | Rooftop Air Conditioner + Gas Furnace |  | 2 | Packaged Rooftop Air Conditioner
| 7 |  | Rooftop air source heat pumps |  | 5 | Packaged Heat Pump
| 8 |  | Warm Air Furnace |  | 4 | Window AC + Baseboard
| 9 |  | PVAVs with electric reheat |  | 3 | VAV with Hot-Water Reheat
| 10 |  | Water Loop Heat Pump (WLHP) |  | 5 | Packaged Heat Pump
| 11 |  | Ground Source Heat Pump (GSHP) |  | 5 | Packaged Heat Pump
| 12 |  | Packaged Rooftop Air Conditioner (AHU, single zone constant flow, DX cooling, gas furnace) (PTAC) |  | 2 | Packaged Rooftop Air Conditioner
| 13 |  | Packaged Heat Pump (PTHP) |  | 5 | Packaged Heat Pump
z

## 3. Building Specs Tab
3. Building Specifications Tab
This tab includes general information about your school building and its physical attributes.
– | Get information for building specifications from the school office staff, building/district facility manager, or principal.
– | If you do not have any of this information or have questions about the required fields for technical support only, please email: SEAFormHelp@lbl.gov
Input key: |  |  |  | required field |  |  | optional field
1. General Information
a. Building/School name
b. Street address
c. City
|  | d. State |  |  |  |  | e. Zip code
|  | f. Building use type |  |  | (type letter "x" in appropriate box)
|  |  | Elementary School |  |  | Secondary School
g. Year completed
Year built or year of major renovation. A "major renovation" refers only to renovations with material impact on facility energy performance (e.g., renovation here does not refer to furniture replacements, updates to flooring and finishes, sports field renovations, bleacher installation, etc.). A major renovation means either adding 25% or more to the building's square footage, a large-scale window replacement (with improved window types such as double pane), wall or roof insulation updates, or a major replacement of the heating, ventilation, and air conditioning (HVAC) equipment. If you don't know of any major renovations as described, then input the year the building was built.
h. Date of Data Collection (MM/DD/YYYY)
2. Contact Information
a. Name of school's primary contact
b. Primary contact's email
3. Building Size
Building gross square footage will typically be found in town/city records with your school's address, through a state agency, or possibly on a facility assessment or energy audit report your facilities director or principal should have. You also can use Google Earth to estimate this. To do this, input your address, select the measurement ruler from the Tools dropdown on the left, add points on all corners of your building, and select square feet from the Area option the right, and multiply the area by the number of floors to get the building's total square footage.
https://earth.google.com/web/
|  | a. | Total building area
Gross conditioned floor area in square feet: Total square footage of the main school building, measuring from the outside of the exterior walls and including all conditioned floors, above and below ground level.
|  | b. | Conditioned floor area above grade
Gross conditioned floor area, in square feet, above grade (at ground level or higher). Does not include parking garages. This value is the same as building size if there are no below-grade floors. Note that this is the building area used in QBAT.
|  | c. | Conditioned floor area below grade
Gross conditioned floor area, in square feet, below ground level. Does not include parking garages.
4. Building Attributes
|  | a. | Total number of conditioned floors
|  |  | The number of floors above grade (ground level or higher) and below grade that have heating, cooling, or both. Do not include parking garages. | [5 empty] | Number of floors
Indicate whether conditioned spaces are heated, cooled, or heated and cooled.
|  | b. | Number of occupants
|  |  | Including all staff, teachers, and students. | [5 empty] | (Teachers/staff)
(Students)
|  | c. | Weekly building occupancy (hours/week)
|  |  | List how many hours per week the building is in use and operating. List Saturday and Sundays separately. Do not include holidays. If any day has no occupancy, please enter 0. | [5 empty] | (Mon-Fri)
(Saturday)
(Sunday)
|  | d. | Annual building occupancy (weeks/year)
List how many weeks per year the building is in use and operating. This includes the school year plus any additional weeks of professional use. Do not include vacation weeks or weeks with fewer than four days of occupancy, unless the building is left on during that time.
5. Other Information
This information is not required, but helps provide a more complete understanding of your facilities. Only fill out the lines for which information is available.
|  | a. | Actively used kitchen on site?
|  | b. | Number of walk-in refrigerators/freezers
|  | c. | Heated Pool
|  | d. | Stadium Lighting
|  | e. | Ice Skating Rink
|  | f. | EV Charging Stations
6. Building Shape (for Quick Building Assessment Tool)
Choose from the dropdown:
|  | a. | Building shape
Building geometry affects energy performance and is important for energy simulations. Providing the size and shape of your building will help determine energy usage and upgrades needed. Pick the closest shape. Refer to the shape illustrations below.
|  |  | Rectangle |  |  | "H" |  | "L" | "U"

## 4.a HVAC + Water Heating Tab
4.a HVAC and Water Heating System Tab
In this tab, the goal is to select the system type that best describes your school building’s heating, cooling, and ventilation delivery system. Select the system that most closely matches that of your building. Refer to the HVAC Equipment Guide (tab 4.b) to help you identify the system.
Description
– | This section is used to identify the primary heating and cooling system that cover most of your building's square footage, focusing on central plant, packaged systems, and room-level systems.
– | There are 13 different HVAC system combinations to choose from. Choose the system type that most closely matches your school's system.
– | To identify which HVAC systems you have, ask the facilities director. You may also physically identify the equipment by going to specific locations in and around the school building. Use the Equipment Guide tab for additional information. Use the system images and descriptions in the Guide as a reference to help identify the combination of equipment.
Instructions
– | Select the blue-shaded cells below.
– | Select the dropdown arrows that appear in the right hand corner and choose from the menu options.
– | Choose the HVAC system for your building. If your HVAC system does not match any of these, select the HVAC system that most closely matches your equipment.
– | Refer to the HVAC Equipment Guide tab, or print out to help identify the system based on equipment found in your school.
HVAC System
Heating fuel type
System type
Equipment age
System condition
Good = Requires minimum maintenance, operating satisfactorily. Fair = Requires above average maintenance (more than once a year), some operational issues. Poor = Leaking, rusted, broken switches, valves not working satisfactorily.
HVAC controls
(refers only to central equipment controls that are found on or near the equipment)
Central Building Management System / Building Automation System (BMS/BAS) = PC controlled for multiple equipment/zones, complex sequences and scheduling. Advanced Central BMS/BAS = Includes advanced level of control such as outside air temperature reset.
HVAC thermostats, switches
Service water heating system
(hot water for kitchen, bathrooms, laundry)
Service water heating system condition

## 4.b HVAC Equipment Guide
4.b HVAC Equipment Guide
This guide will help you identify actual pieces of heating and cooling equipment in your school. To do this, you will go to three locations within the building to locate equipment: (1) the mechanical room, (2) building exterior (roof and sides of the building), and (3) inside individual rooms (classrooms/offices) within the building.
Instructions:
– First print this guide to carry with you around your building.
– Visit the locations of the building where HVAC equipment is located, and mark the ones you see.
– Reference this printed guide to help fill out tab 4.a.
1) |  | Packaged Terminal Air Conditioner (PTAC)
|  | Description: | These are single zone units located in rooms to provide cooling. If you have these units in individual rooms, this is your system. If you have PTACs, you may have no heating, or have heating provided by other means, such as a central furnace, or baseboards or radiators in rooms. If so, you may also have a boiler in the mechanical room, or your building may be provided district hot water or steam.
|  | Location: | To locate this equipment, check the classrooms, administrative offices, and other areas.
|  | Equipment type: | Zone Equipment
|  | Distribution type: | N/A
|  | Cooling source: | Terminal DX
|  | Heating source (default): | Central Furnace
|  | Heating fuel (default): | Natural Gas
Equipment in this System:
|  | Packaged Air Conditioner | May also include zone heating equipment:
|  |  | radiator | baseboard | central boiler |  | central furnace
2) |  | Rooftop Air Conditioner and Gas Furnace
|  | Description: | This is a self-contained air handler that serves one room and includes cooling and heating. If you have an air handling unit (AHU) on the roof with a metal gas pipe going into it, and one thermostat in the room it's serving, this is your system.
|  | Location: | There is only one piece of equipment for this system type: a packaged air conditioner. It will be on the roof.
|  | Equipment type: | Air Handler
|  | Distribution type: | Single Zone
|  | Cooling source: | Central DX (“DX” stands for “direct expansion”)
|  | Heating source: | Central Furnace
|  | Heating fuel: | Natural Gas
Equipment in this System:
Packaged Air Conditioner (with Gas Furnace)
3) |  | Variable Air Volume (VAV) with Hot Water Reheat
|  | Description: | If you have an AHU in the mechanical room, and a boiler and a chiller in the mechanical room (or district chilled or hot water), this is the system for your school. This system may also include a cooling tower outside the building or on the roof.
|  | Location: | To find this equipment, check in the mechanical room and outside the building.
|  | Equipment type: | Air Handler
|  | Distribution type: | Multi Zone
|  | Cooling source: | Central Plant Chilled Water Loop
|  | Heating source (default): | Central Plant Boiler Hot Water Loop
|  | Heating fuel: | Natural Gas or Other
Equipment in this System:
|  | Mechanical room air handling unit (AHU) | Chiller |  |  |  | Boiler
It may have multiples units
4) |  | Variable Air Volume (VAV) with Electric Reheat
|  | Description: | This is a heating and cooling AHU. This is typical of an all-electric building where no natural gas lines are visible, or the system may instead include central gas heat with electric reheat at the zone level. If you have an AHU in the mechanical room, and a chiller in the mechanical room, and multiple thermostats in rooms for temperature control from this unit, then this is your system. This system may also include a cooling tower outside the building or on the roof and a central furnace if there is central heating as well as zone reheat.
|  | Location: | To locate this equipment, check the mechanical room.
|  | Equipment type: | Air Handler
|  | Distribution type: | Multi Zone
|  | Cooling source: | Central Plant Chilled Water Loop
|  | Heating source (default): | Central Furnace
|  | Heating fuel (default): | Electricity, but may also include central heat from gas or other source
Equipment in this System:
| Mechanical room air handling unit (AHU) |  | Chiller |  | May also have central furnace:
It may have multiples units
5) |  | Packaged Variable Air Volume (VAV) with Hot Water Reheat
|  | Description: | This is a packaged air handling system. If you have an air handler on the roof, a boiler in the mechanical room, and multiple thermostats in rooms for temperature control from this unit, this is your system.
|  | Location: | To locate this equipment, check the mechanical room.
|  | Equipment type: | Air Handler
|  | Distribution type: | Multi Zone
|  | Cooling source: | Central DX (“DX” stands for “direct expansion”)
|  | Heating source: | Central Plant Boiler, Hot Water Loop
|  | Heating fuel (default): | Natural Gas
Equipment in this System:
|  | Rooftop air handler |  | Boiler (mechanical room)
6) |  | Packaged Variable Air Volume (VAV) with Electric Reheat
|  | Description: | This is a heating and cooling AHU. This is typical of an all-electric building where no natural gas lines are visible, or the system may include central gas heat with electric reheat at the zone level. If you have an AHU on the roof and multiple thermostats in rooms for temperature control from this unit, then this is your system.
|  | Location: | To locate this equipment, check the mechanical room.
|  | Equipment type: | Air Handler
|  | Distribution type: | Multi Zone
|  | Cooling source: | Central DX (“DX” stands for “direct expansion”)
|  | Heating source: | Central Furnace
|  | Heating fuel (default): | Electricity, or may include central heat from gas or other source
Equipment in this System:
|  | Rooftop air handler |  | May also have central furnace:
7) |  | Window AC + Baseboard
|  | Description: | This system provides cooling by an individual window air conditioner unit in the room. If you have window AC units, you may have no heating, or heating provided by baseboards or radiators in rooms. If so, you may also have a boiler in the mechanical room, or your building may be provided district hot water or steam.
|  | Location: | To find this equipment, check the mechanical room and inside the classrooms or other rooms.
|  | Equipment type: | Zone/Room Equipment
|  | Distribution type: | Multi Zone
|  | Cooling source: | Terminal DX (“DX” stands for “direct expansion”)
|  | Heating source (default): | No heating
|  | Heating fuel (default): | N/A
Equipment in this System:
|  | Window AC | May also include zone heating equipment:
|  |  | radiator | baseboard | central boiler |  | central furnace
8) |  | Four Pipe Fan Coil Unit
|  | Description: | This system uses heating and cooling. If you have fan coil units in the rooms and a chiller and/or boiler in the mechanical room (or district chilled and/or hot water sources), this is your system. This system may also include a fourth piece of equipment: a cooling tower outside the building or on the roof.
|  | Location: | To find this equipment, check in classrooms, and in the mechanical room or outside the building.
|  | Equipment type: | Zone Equipment
|  | Distribution type: | Multi Zone
|  | Cooling source (default): | Central Plant Chilled Water Loop
|  | Heating source (default): | Central Plant Boiler, Hot Water Loop
|  | Heating fuel (default): | Natural Gas
Equipment in this System:
| Fan Coil Unit |  | Chiller | Boiler |  | Cooling tower
9) |  | Warm Air Furnace
|  | Description: | This is heating only equipment in the mechanical room. There are room thermostat(s) to control the temperature.
|  | Location: | There is a central furnace in the mechanical room and an air handler to distribute the warm air. To locate this equipment, check the mechanical room.
|  | Equipment type: | Air Handler
|  | Distribution type: | Single Zone
|  | Cooling source: | No Cooling
|  | Heating source: | Central Furnace
|  | Heating fuel (default): | Natural Gas
Equipment in this System:
|  | Warm Air Furnace |  | Mechanical room air handling unit (AHU)
10) |  | Packaged Terminal Heat Pump
|  | Description: | This is a single zone unit located in rooms such as classrooms. It has electric DX cooling and heating. There are no natural gas lines to this unit.
|  | Location: | There is only one piece of equipment for this system, it is a single zone unit located in rooms. To locate this equipment, check the classrooms, administrative offices, and elsewhere.
|  | Equipment type: | Zone Equipment
|  | Distribution type: | N/A
|  | Cooling source: | Terminal DX
|  | Heating source: | Heat Pump
|  | Heating fuel: | Electricity
Equipment in this System:
Packaged In-Room Heat Pump
11) |  | Rooftop Air Source Heat Pump
|  | Description: | This is a self contained single zone system providing electric cooling and heating, typically serving a smaller space. This is similar to a packaged AC; however, there is no natural gas line going to the unit. The nameplate should indicate “heat pump” as well. If you have a cooling plus heating AHU on the roof with no gas line, and only one thermostat to control the temperature, this is your system.
|  | Location: | There is only one piece of equipment for this system: a packaged heat pump. To locate this equipment, check the roof.
|  | Equipment type: | Air Handler
|  | Distribution type: | Single Zone
|  | Cooling source: | Central DX
|  | Heating source: | Heat Pump
|  | Heating fuel: | Electricity
Equipment in this System:
Packaged Rooftop Heat Pump
12) |  | Water Loop Heat Pump (WLHP)
|  | Description: | Water loop heat pumps provide all-electric heating and cooling and typically circulate water throughout the building to terminal devices to provide heating and cooling (though ducts and air handlers may also distribute conditioned air), also typically rejecting heat via a cooling tower outside. In addition to the heat pump you will also see piping and pumps for water circulation.
|  | Location: | The main equipment for this system is the heat pump. To locate this equipment, check the mechanical room.
|  | Equipment type: | Zone Equipment
|  | Distribution type: | N/A
|  | Cooling source: | Terminal DX
|  | Heating source: | Heat Pump
|  | Heating fuel: | Electricity
Equipment in this System:
|  | Water Loop Heat Pump |  | Cooling tower
13) |  | Variable Refrigerant Flow (VRF)
|  | Description: | Variable-refrigerant-flow (VRF) HVAC systems are direct-expansion (DX) heat pumps similar to other DX/heat pump systems, and share many of the same components (i.e., compressor, expansion device, and heat exchangers). VRF systems have multiple indoor units ("cassettes") connected to a common outdoor unit (single or combined modules), can be larger and have variable capacity and distributed control. They also can provide heating and cooling in various indoor units at the same time, which DX and heat pumps cannot do. They have refrigerant lines running to the head cassettes in spaces that each have individual thermostats. This type of system provides heating and cooling but no ventilation air. Look for the large unit around the perimeter of the building or on the roof.
|  | Location: | There is one main piece of equipment for this system. To locate this equipment, check the perimeter or roof of the building.
|  | Equipment type: | Zone Equipment
|  | Distribution type: | Refrigerant
|  | Cooling source: | Heat Pump
|  | Heating source: | Heat Pump
|  | Heating fuel: | Electricity
Equipment in this System:
VRF
HVAC Controls
Pneumatic Controls
This will have a small air compressor for valve control.
It is for a central plant unit controls.
You will find this in the mechanical space with the other central plant equipment.
Manual Thermostat
It has a lever or rotates to control temperature.
You will find it in classrooms, offices, etc.
Programmable Thermostat
It has a schedule by time and day to control the temperature setpoint.
You will find it in classrooms, offices, etc.
Smart (Wi-Fi Connected) Thermostat
In addition to programmed schedules, smart thermostats use algorithms that learn occupancy habits and automatically adjust the heating and cooling based on when occupants are present, to save energy and money.
You will find it in classrooms, offices, etc.

## 5.a Lighting Tab
5.a Lighting Tab
In this section you will identify the types of light sources and fixtures most commonly used in the different areas of your school, from classrooms and administrative offices to the cafeteria and auditorium. For some types of light fixtures, the light bulbs (or lamps) may be one of several options, so you may need to look inside fixtures to determine which is being used. You will also need to identify the types of lighting controls commonly used in your building. Try to survey at least 20% of the space or the rooms of each area type to characterize the lighting and controls used.
Instructions
– | Select the blue-shaded cells.
– | Select the dropdown arrows that appear in the right hand corner and choose Type and Percentage in each section. Choose the lighting and controls types that most closely represent those in each space type in your building, and estimate the percent of each type (0%, 25%, 50%, 75%, or 100%). Percentages for your selections must total 100%.
– | For each space type, after selecting equipment type and percentage, indicate the condition that the lighting equipment is in (good, fair, poor).
Good = Operates reliably with minimum maintenance required. Fair = Operates somewhat reliably, though maintenance is required with some regularity. Poor = Operates unreliably, with frequent maintenance required.
– | Refer to the images and descriptions in the Lighting Equipment Guide (tab 5.b) to help identify the types of lighting used in your building. It may be helpful to print the tab out to have as a reference.
1. Lighting in Classrooms
This includes all the general ceiling fixtures that serve the classrooms in your school.
| a. Type of lights (top three) |  | b. Percentage
1)
2)
| 3) |  |  | FALSE
|  | Total | 0%
This must add up to 100%
| c. Lighting system condition |  |  | FALSE
2. Lighting in Support Spaces (Office, Administrative Areas)
This includes lighting for offices, small group resource rooms, and other general rooms that do not support a full classroom.
| a. Type of lights (top three) |  | b. Percentage
1)
2)
| 3) |  |  | FALSE
|  | Total | 0%
This must add up to 100%
| c. Lighting system condition |  |  | FALSE
3. Lighting in Large Rooms and High Ceiling Areas
This includes lighting for gymnasiums, cafeterias, multi-purpose rooms, auditoriums, or any large gathering spaces.
| a. Type of lights (top three) |  | b. Percentage
1)
2)
| 3) |  |  | FALSE
|  | Total | 0%
This must add up to 100%
| c. Lighting system condition |  |  | FALSE
4. Lighting in Circulation Areas
This includes lighting used in lobbies, entryways, hallways, stairwells, and other connector spaces.
| a. Type of lights (top three) |  | b. Percentage
1)
2)
| 3) |  |  | FALSE
|  | Total | 0%
This must add up to 100%
| c. Lighting system condition |  |  | FALSE
5. Exterior / Site Lighting
This section features site lighting, including exterior walkway lighting, wall packs and sconces, exterior flood lighting, and bollards, as well as parking garage and/or parking lot lighting and lighting in any other exterior location that falls within the property lines.
| a. Type of lights (top three) |  | b. Percentage
1)
2)
| 3) |  |  | FALSE
|  | Total | 0%
This must add up to 100%
| c. Lighting system condition |  |  | FALSE
6. Lighting Controls
This section features site lighting, including exterior walkway lighting, wall packs and sconces, exterior flood lighting, and bollards, as well as parking garage and/or parking lot lighting and lighting in any other exterior location.
Interior Lighting Controls
| a. Type of lighting controls |  | b. Percentage
1)
2)
| 3) |  |  | FALSE
|  | Total | 0%
This must add up to 100%
Exterior Lighting Controls
| c. Type of lighting controls |  | d. Percentage
1)
2)
| 3) |  |  | FALSE
|  | Total | 0%
This must add up to 100%
[7 empty] | Section1 | Percentage
[8 empty] | First option | Second option | Third option
[7 empty] | 100% | 100% | 100% | 100%
[7 empty] | 75% | 75% | 75% | 75%
[7 empty] | 50% | 50% | 50% | 50%
[7 empty] | 25% | 25% | 25% | 25%
[7 empty] | 0% | 0% | 0% | 0%
[7 empty] | Section 2 | Percentage
[5 empty] | Lighting types | Rank |  | First option | Second option | Third option
[5 empty] | CFLs |  | 100% | 100% | 100% | 100%
[5 empty] | Incandescent and halogen |  | 75% | 75% | 75% | 75%
[5 empty] | LEDs |  | 50% | 50% | 50% | 50%
[5 empty] | Linear fluorescent |  | 25% | 25% | 25% | 25%
[7 empty] | 0% | 0% | 0% | 0%
[7 empty] | Section 3 | Percentage
|  |  |  | Exterior Lights | Lighting types |  |  | First option | Second option | Third option
[5 empty] | Fluorescent |  | 100% | 100% | 100% | 100%
[5 empty] | HID |  | 75% | 75% | 75% | 75%
[5 empty] | Incandescent and halogen |  | 50% | 50% | 50% | 50%
[5 empty] | LEDs |  | 25% | 25% | 25% | 25%
[5 empty] | CFLs |  | 0% | 0% | 0% | 0%
None (no exterior lights)
|  |  |  | Exterior Light Controls | Lighting types |  | Section 4 | Percentage
[5 empty] | Central / Networked / 'Smart' |  |  | First option | Second option | Third option
[5 empty] | Occupancy sensors |  | 100% | 100% | 100% | 100%
[5 empty] | Occupancy sensors plus schedules/timers |  | 75% | 75% | 75% | 75%
[5 empty] | Schedules, relay panels, timers |  | 50% | 50% | 50% | 50%
[5 empty] | Sunrise/sunset photosensors |  | 25% | 25% | 25% | 25%
[5 empty] | Wall switches |  | 0% | 0% | 0% | 0%
No controls (always on)
[5 empty] | None (no exterior lights) |  | Section 5 | Percentage
|  |  |  | Common Areas | Lighting types |  |  | First option | Second option | Third option
[5 empty] | CFLs |  | 100% | 100% | 100% | 100%
[5 empty] | Incandescent and halogen |  | 75% | 75% | 75% | 75%
[5 empty] | LEDs |  | 50% | 50% | 50% | 50%
[5 empty] | Linear fluorescent |  | 25% | 25% | 25% | 25%
[5 empty] | HID |  | 0% | 0% | 0% | 0%
[7 empty] | Section 6.1 | Percentage
[5 empty] | Lighting types |  |  | First option | Second option | Third option
|  |  |  | Interior Light Controls | Central / Networked / 'Smart' |  | 100% | 100% | 100% | 100%
[5 empty] | Occupancy sensors |  | 75% | 75% | 75% | 75%
[5 empty] | Occupancy sensors plus schedules/timers |  | 50% | 50% | 50% | 50%
[5 empty] | Schedules, relay panels, timers |  | 25% | 25% | 25% | 25%
[5 empty] | Wall switches |  | 0% | 0% | 0% | 0%
No controls (always on)
[7 empty] | Section 6.2 | Percentage
[8 empty] | First option | Second option | Third option
[7 empty] | 100% | 100% | 100% | 100%
[7 empty] | 75% | 75% | 75% | 75%
[7 empty] | 50% | 50% | 50% | 50%
[7 empty] | 25% | 25% | 25% | 25%
[7 empty] | 0% | 0% | 0% | 0%

## 5.b Lighting Equipment Guide
5.b Lighting Equipment Guide
This guide will help you identify the most common lighting sources used in your school. You will need to survey at least 20% of the building floor area to accurately estimate the lighting system information in the lighting tab, paying closest attention to common space types like classrooms, administrative offices, cafeteria, hallways, etc.
Instructions:
- | Either print this tab or open it on a mobile or tablet device so you can reference it as you walk around your building.
- | Look in the space types identified in the Lighting Form tab to identify lighting equipment.
- | Mark the selections in the Lighting Tab that best represent the lighting.
Common general lighting fixtures and lamps (or "bulbs")
Look at the light fixtures present throughout your school facility, and identify the type of lighting used. Pick rooms and areas that you consider to be representative of typical lighting used in your school. These images and descriptions will help you identify the types of lighting used in your building.
Fixture type: Ceiling troffers, pendants, and strip fixtures
These are commonly used to illuminate classrooms, lobbies, offices, hallways, stairwells, and other spaces. Traditionally the light source in these fixtures is linear fluorescent tubes (see "Bulbs" below). However, they may instead have LED replacement tubes or have LEDs integrated into the fixture (no bulb). You may need to look behind lenses or reflectors to determine the bulb type.
Bulbs in these fixtures:
Linear fluorescent lamps
Linear fluorescent lamps, or "bulbs," will be made out of glass with metal ends. They are used in the ceiling troffers, pendants, and strip fixtures seen above. These lamps may be type T5, T8, or T12.
LED replacement tubes
LED replacement tubes will look very similar to linear fluorescent lamps, but will be made of plastic. The LED light sources may be visible within the tube as well.
Integrated LEDs
LED fixtures of this type do not have individual replaceable bulbs inside but instead have LEDs integrated into the fixture's body. In such fixtures the individual LEDs will typically be visible if the lens or cover is removed.
Fixture type: Recessed lighting, can lights, and wall-mounted sconces
Here are some other common fixtures you may find in ceilings and on walls. These may have incandescent, halogen, CFL, or LED bulbs inside (see below). It may be necessary to look behind or inside the fixture lenses to determine the light source.
Bulbs in these fixtures:
Incandescent and halogen bulbs
Incandescent and halogen bulbs will be made out of glass, normally with a screw-in metal base. Normally a wire filament is visible inside the bulb, inside of a glass capsule if it is halogen. Caution: These lights will be very hot when on, so avoid touching them.
Compact fluorescent (CFL) bulbs
CFLs will be made out of glass, and they also normally have a metal screw base that fits in most residential fixtures.
LED bulbs
LED bulbs resemble incandescent and halogen bulbs but will be made out of plastic, sometimes with a heavier aluminum base.
Integrated LEDs
New LED fixtures may have LEDs integrated into the fixture body instead of having removable bulbs inside. In such fixtures, the individual LEDs may be visible behind the opaque lens that covers the fixture (the lens may not be removeable).
Common "high bay" and exterior fixtures and bulbs
Look for these in areas with high ceilings and elsewhere that high-light output fixtures (auditorium, gymnasium, etc.) are used. This will help you identify what type of light sources are used in these fixtures, which are also common in exterior spaces.
Fixtures
These are some commonly used high output fixtures for spaces with high ceilings or outdoors. Some of these fixtures may use traditional sources like high intensity discharge (HID) lamps, including high pressure sodium, mercury vapor, and metal halide, or linear fluorescents (typically with many bulbs per fixture). If there has been an LED retrofit in your school, these may have LED replacement bulbs or be new LED fixtures using integrated LED sources (no bulbs). It will be important to look closely at the fixtures, including under lenses and diffusers, to determine the light source within.
Bulbs in these fixtures:
High Intensity Discharge (HID) lamps
HID lamps, or "bulbs," can include high pressure sodium lamps (which provide a yellow-hued light) and metal halide lamps or mercury vapor lamps (which provide bluish white-hued light). These are large glass bulbs.
Linear fluorescent lamps
Linear fluorescent lamps, or "bulbs," will be made out of glass with metal ends and are used in linear strip fixtures.
LED replacement tubes
LED replacement tubes will look very similar to linear fluorescent lamps but will be made of plastic. The LED light sources may be visible within the tube as well.
Integrated LED light source
Commonly when high output fixtures use an LED light source, it will be integrated into the fixture rather than being in the form of a removable "bulb." The LEDs may be easily visible, or they may be behind a lens or cover.

## 6.a Construction Properties Tab
6.a Construction Properties Tab
In this tab you will enter some of the basic construction properties of your school building, including details on roof, floor, wall materials and types, and window information. Select the responses that most closely match the conditions of your building. See the Construction Guide (tab 6.b) for information and illustrations to help make your selections.
Guidance
– | Filling out this section will require you to visually inspect your building. You may also need to consult blueprints or plans from construction or retrofits to identify specific construction materials.
– | If a specific construction detail does not exactly match the available options, select the one that most closely matches your building.
Instructions
– | Select the blue-shaded cells below.
– | Select the dropdown arrows that appear in the right hand corner and choose from the menu options.
– | Choose the construction type or property that most closely represents your building.
– | Refer to the next tab to help identify the construction properties found in your school.
Construction Properties
a. | Roof Type
Pick the closest roofing material. If a campus, pick the largest or most representative building.
b. | Most Recent Roof Renovation
c. | Roof Condition
Good = 90% to 100% of the roof is in good condition, fully functional, and without safety issues, with no impact on thermal and structural performance. <10% of the roof may display some cosmetic issues, like dirt and signs of aging, such as discoloration caused by weathering.
Fair = 25% to 90% of the roof is in good condition, fully functional, and without safety issues, with no impact on thermal and structural performance. However, up to 75% of the roof may display some cosmetic issues, like dirt and signs of aging, such as discoloration caused by weathering.
Poor = <25% of the roof is in good condition and fully functional without any safety issues. 75% or more exhibits problems affecting thermal and structural functionality, as well as its appearance, requiring immediate attention and repair to restore it to its proper operation. Examples of poor condition include leaks, water damage, structural deterioration, mold growth, and roof failure.
d. | Floor Type
Pick the closest type that is most representative of the building.
e. | Wall Type
Pick the closest type that is most representative of the building.
f. | Window Framing Type
Pick the closest type that is most representative of the building. Wood, vinyl, and fiberglass are grouped together
g. | Window Glass Type
Pick the closest type that is most representative of the building. To determine if you have low emissivity glass hold a match or lighter in front of the window. If one of the images is a different color than the others, you have low-E glass.
h. | Window Age
i. | Window Condition
Good = 90% to 100% of the window panes are in good condition and fully functional, and <10% of the windows may occasionally display cosmetic issues, such as dirt and scratches.
Fair = 25% to 90% of the window panes are in good condition and fully functional, and <75% may display cosmetic issues, such as dirt and scratches.
Poor = < 25% of the window panes are in good condition. >75% of the window panes exhibit problems with functionality and appearance, requiring attention, replacement, or restoration for proper operation. Window panes show a lack of maintenance. Window glass and surrounding materials have been neglected, including cleaning/sealing of window pane, allowing dirt and debris to accumulate, or failing to replace broken window panes or other damage to the glass.
j. | Window-to-Wall Ratio (WWR)
(Optional - if known)
The Window-to-Wall Ratio (WWR) is the fraction of the above grade wall area that is covered by fenestration, calculated as the ratio of the wall fenestration area to the gross above grade wall area. The Asset Scoring Tool will use either the WWR that you enter, or it will calculate a WWR based on the number of windows, window dimensions, and the wall dimensions entered. A maximum WWR of 95% may be entered.

## 6.b Construction Guide
6.b Construction Guide
In this section you will identify the existing characteristics of the building envelope (i.e., roof, floor, windows, and walls). You will need to conduct a visual inspection of all building elements. Use this guide as a reference when conducting your review of the building envelope.
Instructions:
- | Either print this tab or open it on a mobile or tablet device so you can reference it as you walk around your building.
- | Mark the selections that best represent your roof, floor, windows, and walls.
- | The sections you fill out on this sheet will help inform which answers to select in the 6.a Construction Properties tab.
Section 1. Roof
This section will help you identify the roof type. Select the option that most accurately describes your roof. For assessing roof condition, refer to the definitions in the construction properties tab.
Built-up roof (BUR) with Concrete Deck
This roof type involves multiple layers of bitumen (asphalt or coal tar) and reinforcing materials such as fiberglass or organic felts. The layers are alternated with hot asphalt or adhesive, creating a durable and waterproof membrane. The built-up roof is installed on top of a concrete deck, which provides structural support and thermal mass.
Built-up Roof with Metal Deck
Similar to BUR with a concrete deck, this roof type uses multiple layers of bitumen and reinforcing materials. However, instead of a concrete deck, it is installed on top of a metal deck. Metal decks are lightweight and provide structural support. They are often used in commercial and industrial buildings.
Built-up Roof with Wood Deck
BUR with a wood deck is similar to the previous types but installed on top of a wood deck instead of concrete or metal. Wood decks are commonly made of plywood or oriented strand board (OSB). The wood deck provides structural support and a stable base for the built-up roof system.
Metal surfacing
Metal surfacing refers to roofs that are primarily made of metal panels or sheets. The metal can be steel, aluminum, or other alloys. Metal roofs are known for their durability, longevity, and resistance to fire, insects, and rot. They can be installed on various types of roof decks, including wood, concrete, or metal.
Shingles/Shakes
Shingles and shakes are popular roofing materials used in residential construction. Shingles are typically made of asphalt and come in various styles and colors. They are lightweight, easy to install, and provide good weather resistance. Shakes, on the other hand, are thicker wooden pieces (often cedar) that are split or sawn. They offer a more rustic appearance and are often used for a traditional or natural look.
Section 2. Floor Type
This section will help you identify the floor type. Select the option that most accurately describes your floor.
Concrete Slab
A concrete slab is a common type of flooring. It consists of a thick, solid layer of concrete that is poured and leveled onto a prepared subfloor.
Slab on Grade
Slab on grade refers to a concrete slab that is directly poured onto the ground, without any intervening layers. This type of flooring is commonly used in areas with stable soil conditions and mild climates. Slab on grade offers a cost-effective solution, but it may require additional insulation and moisture protection measures.
Steel Joist
Steel joist flooring utilizes a series of steel joists, beams, and girders to create a structural framework for the floor. The steel joists are placed parallel to each other and supported by load-bearing walls or steel columns.
Wood Frame
Wood frame flooring, also known as platform framing, is a common method for residential construction. It involves the use of wooden joists, beams, and subflooring materials, such as plywood or oriented strand board (OSB). The wood frame is supported by load-bearing walls or wooden columns.
Section 3. Wall Type (façades)
This section will help you identify the wall type. Select the option that most accurately describes your walls.
Brick/stone on Masonry
This wall type involves constructing a load-bearing masonry wall using individual bricks or stones laid in mortar. The wall provides strength, durability, and thermal insulation, with the masonry serving as the primary structural element.
Brick/stone on Steel Frame
In this construction method, the structural wall is made of steel framing, and masonry units (such as bricks or stones) are attached to it using connectors like metal ties. The steel frame provides structural support, while the masonry acts as a cladding material for aesthetic purposes.
Brick/stone on Wood Frame
Similar to masonry on a steel frame, this type of wall involves attaching masonry units to a wood frame structure using connectors. The wood frame provides the structural support, while the masonry serves as the exterior cladding.
Metal Panel/Curtain Wall
A metal panel or curtain wall system consists of lightweight metal panels, such as aluminum or steel, that are attached to a structural frame. These panels are typically prefabricated and installed as an outer covering, providing a more modern appearance to the building.
Siding on Steel Frame
This wall type involves attaching siding materials, such as vinyl, fiber cement, or metal panels, to a steel frame structure. The steel frame provides the structural support, while the siding acts as the exterior cladding, offering protection from the elements and enhancing the building's appearance.
Siding on Wood Frame
This is a common construction method where siding materials like wood, vinyl, fiber cement, or composite boards are attached to a wooden framework. The wood frame serves as the structural support, and the siding provides both protection and decorative elements to the building's exterior.
Section 4. Windows
Identify the building’s window frame and glass type. Walk around the exterior of the building and look at the windows. Identify what the majority of the windows look like, mainly what type of frame is used, and what type of glass is used. For assessing window conditions, refer to construction properties form definitions.
1. Window Glass
Identify the type of glass.
Single pane
With a single glass pane, there is only one layer of glass, and no spacer or insulating gas is present.
Double pane
A double glass pane is thicker than a single glass pane because it consists of two panes of glass separated by a gap for insulating, and a metal or plastic spacer is used to separate the two panes and maintain the gap between them.
Double pane with Low-E
In addition to being a double pane window, these have low-E (low emissivity), designed to minimize heat transfer through the glass while allowing natural light to enter the building. They have a thin, transparent coating applied to the glass that helps reduce heat transfer through the window. To determine if you have low emissivity glass, hold a match or lighter in front of the window. If one of the images is a different color than the others, you have low-E glass.
Triple pane
A triple glass pane is thicker than a double glass pane because it consists of three panes of glass separated by gaps between panes for insulating, and a metal or plastic spacer is used to separate the panes and maintain the gap between them.
Triple pane with Low-E
In addition to being a triple pane window, these have low-E (low emissivity), designed to minimize heat transfer through the glass while allowing natural light to enter the building. They have a thin, transparent coating applied to the glass that helps reduce heat transfer through the window. To determine if you have low emissivity glass, hold a match or lighter in front of the window. If one of the images is a different color than the others, you have low-E glass.
2. Window Frame
Identify the window frame material.
One way to visually identify steel, iron, and aluminum window frames is by their finish and color, and use of a magnet.
Wood frame (select wood/vinyl/fiberglass in construction properties)
Metal frame (aluminum, steel, or iron)
Aluminum is often more glossy or shiny, and can come in a wider variety of colors compared to steel frames. It is not magnetic. Steel tends to have a more matte or dull finish, both of which are typically silver or gray. Another way to differentiate them is by using a magnet. If the frame is attracted to the magnet, it is most likely made of steel. Iron is often more ornate than steel or aluminum frames, with patterns or decorations. They are typically painted black or a dark color. Some iron window frames may also be left uncoated, resulting in a natural rusted or weathered appearance.
Metal frame with thermal breaks
These are similar to a metal frame window, but to minimize heat transfer and increase energy efficiency, thermal breaks are incorporated int other frame design. Thermal break material is usually nonconductive nylon or polyurethane and acts as an insulating barrier.
Vinyl or fiberglass (select wood/vinyl/fiberglass in construction properties)
Vinyl has a more plastic-like appearance. Fiberglass can be similar in appearance to vinyl frames, but it has a more textured or matte finish.

## 7. Building Energy (optional)
7. Building Energy Use (optional)
This form is used to identify your building's dominant utility sources for the past year and to calculate energy use intensity (EUI). EUI expresses a building’s energy use as a function of its size or other characteristics. Note that QBAT does not require entry of building EUI; filling in this tab is not necessary when using QBAT.
Instructions
– | This form is based on building-level data and works best at the building level; however, if you only have school campus-level data, identify that below in section 1. For campus-level data, include only total building square footage (do not include square footage for parking, sports fields, or any other non-building spaces).
– | Please fill out sections 2 and 3 for electricity and natural gas usage, respectively, for 12 consecutive months. If your building doesn’t use natural gas, leave section 3 blank. If you don't have access to monthly usage data for any of the utility sources, please enter usage for the entire year in the first row and leave the rest of the rows blank. The annual total rows for each table will fill in automatically based on data entered.
– | Fill out section 4 if you have a dominant utility source other than electricity or natural gas, choosing from the options in the dropdown menu.
– | If this information has already been entered into ENERGY STAR Portfolio Manager, it can be downloaded from your school's data under the Energy tab and selecting "download annual totals by meter" and copying and pasting that data into these tables.
– | For sections 3 (natural gas) and 4 (other utility information), fill in the energy units from the utility bill. The conversion factor will be filled in automatically from your entered energy units.
– | Section 5, Building Energy Use Intensity, will calculate automatically based on data entered in sections 2 through 4.
Where can I find this information?
– | Get the information for this tab from the school front office staff, the district office, a facility manager, or the principal.
– | If you need assistance filling out these fields, please email: SEAFormHelp@lbl.gov
|  | Input key: | optional field | (All fields in this tab are optional.)
1. Data Level
| a. | Indicate building-level or campus level data (provide building-level data if possible for the best EUI estimate).
If you selected "Campus Level," please enter the campus square footage. Campus square footage here refers only to the square footage of buildings on campus. Please do not include square footage for parking, sports fields, or any other non-building spaces.
If you selected "Building Level," leave it blank.
Building level, Campus level
2. Utility Source: Electricity
| a. | Used for heating?
| b. | Used for cooling?
| c. | Used for domestic hot water?
| d. | What is the monthly utility use? Provide 12 consecutive months.
If you don't have access to the monthly usage, provide your annual total in the first row.
|  | Start Date | End Date | Days | Usage (kWh) | Amount ($)
|  | Annual Total |  | 0 | 0 | 0
3. Utility Source: Natural Gas
| a. | Used for heating?
| b. | Used for cooling?
| c. | Used for domestic hot water?
| d. | Conversions to kBtu
First look at your bill to determine which units your utility meter uses. Then select the units from the dropdown menu below to convert your utility units to kBtu.
Input Unit Options, select one:
|  | Multiplier to get kBtu/unit: |  | 0
The "multiplier" will auto-fill for you based on your selections above and is used to auto-calculate total building energy usage at the bottom of this tab.
| e. | What is the monthly utility use? Provide 12 consecutive months.
If you don't have access to the monthly usage, provide your annual total in the first row.
|  | Start Date | End Date | Days | Usage (units) | Amount ($)
|  | Annual Total |  | 0 | 0 | 0
4. Utility Source:
| a. | Used for heating?
| b. | Used for cooling?
| c. | Used for domestic hot water?
| d. | Conversions to kBtu
First look at your bill to determine which units your utility meter uses. Then select the units from the dropdown menu below to convert your utility units to kBtu.
Input Unit Options, select one:
|  | Multiplier to get kBtu/unit: |  | 0
The "multiplier" will auto-fill for you based on your selections above and is used to auto-calculate total building energy usage at the bottom of this tab. If "0" continues to appear after selection, you have selected an incorrect unit option for the chosen utility source. Choose again, otherwise this utility will not be included.
| e. | What is the monthly utility use? Provide 12 consecutive months.
If you don't have access to the monthly usage, provide your annual total in the first row.
|  | Start Date | End Date | Days | Usage (units) | Amount ($)
|  | Annual Total |  | 0 | 0 | 0
| 5. Building Energy Use Intensity (EUI) |  |  |  |  | kBtu / ft2 |  | FALSE
Note: The EUI will automatically calculate for you based on your inputs above. You do not need to enter anything here. It indicates your building's energy intensity and is calculated based on your building's energy use. This field will not calculate until you have entered square footage in tab 3, or entered campus-level square footage above.
kBtu (thousand Btu)
Mbtu or MMBtu (million Btu)
Ton Hours
GJ (billion joules)

## hidden tables (hidden)
[35 empty] | US STATE | POSTAL ABBREVIATION | STANDARD ABBREVIATION
(2) Unit Data |  |  |  |  | Modeling Method |  | Conditions |  |  | HVAC Age |  | Equipment Controls | [22 empty] | Alabama | AL | Ala.
Input Unit Options |  | Multiplier to get kBtu |  |  | Asset Score Full Input |  | Good |  |  | 2020 or newer |  | Manual thermostat | [22 empty] | Alaska | AK | Alaska
kBtu (thousand Btu) |  | 1 |  |  | QBAT Input |  | Fair |  |  | 2010-2019 |  | Thermostatic radiator valve (only applies to radiators) | [22 empty] | Arizona | AZ | Ariz.
Mbtu or MMBtu (million Btu) |  | 1000 |  |  |  |  | Poor |  |  | 2000-2009 |  | Programmable thermostat | [22 empty] | Arkansas | AR | Ark.
CF (cubic feet) |  | 1 |  |  | Window Details Entry Method |  |  |  |  | before 2000 |  | Smart (Wi-Fi connected) thermostat | [22 empty] | California | CA | Calif.
ccf (hundred cubic feet) |  | 102.6 |  |  | Continuous | [6 empty] | Automatic shut off device for turning on/off HVAC equipment | [22 empty] | Colorado | CO | Color.
Kcf (thousand cubic feet) |  | 1026 |  |  | Discrete | [6 empty] | None or Broken | [22 empty] | Connecticut | CT | Conn.
Mcf (million cubic feet) |  | 1026000 | [7 empty] | Window Age | [24 empty] | Delaware | DE | Del.
therms |  | 100 |  |  | HVAC Systems List: QBAT |  | System Type | Distribution Type |  | 2020 or newer |  | Pneumatic | [22 empty] | Florida | FL | Fla.
cubic meters |  | 36.303 |  | 1 | Packaged Terminal Air Conditioner |  | Packaged Terminal Air Conditioner (PTAC) | zone |  | 2010-2019 |  | Central BMS/BAS | [22 empty] | Georgia | GA | Ga.
GJ (billion joules) |  | 947.817 |  | 2 | Rooftop Air Conditioner and Gas Furnace |  | Packaged Rooftop Air Conditioner | ahu |  | 2000-2009 |  | Advanced Central BMS/BAS | [22 empty] | Hawaii | HI | Hawaii
|  |  |  | 3 | VAV with Hot Water Reheat |  | VAV with Hot-Water Reheat | ahu |  | before 2000 |  | Other | [22 empty] | Idaho | ID | Idaho
|  |  |  | 4 | VAV with Electric Reheat |  | VAV with Electric Reheat | ahu |  |  |  | None or Broken | [22 empty] | Illinois | IL | Ill.
|  |  |  | 5 | Packaged VAV with Hot Water Reheat |  | Packaged Rooftop VAV with Hot-Water Reheat | ahu |  | Roof Age | [24 empty] | Indiana | IN | Ind.
|  |  |  | 6 | Packaged VAV with Electric Reheat |  | Packaged Rooftop VAV with Electric Reheat | ahu |  | 2020 or newer |  | Pneumatic Controls (has a small air compressor) | [22 empty] | Iowa | IA | Iowa
|  |  |  | 7 | Window AC + Baseboard |  | Window AC + Baseboard Heating | zone |  | 2010-2019 |  | Central BMS/BAS | [22 empty] | Kansas | KS | Kan.
|  |  |  | 8 | Four Pipe Fan Coil Unit |  | Four Pipe Fan Coil Unit | zone |  | 2000-2009 |  | Advanced Central BMS/BAS | [20 empty] | Construction Properties |  | Kentucky | KY | Ky.
|  |  |  | 9 | Warm Air Furnace |  | Warm Air Furnace | ahu |  | before 2000 |  | Other | [20 empty] | Roof Type |  | Louisiana | LA | La.
Utility |  |  |  | 10 | Packaged Terminal Heat Pump |  | Packaged Terminal Heat Pump (PTHP) | zone |  |  |  | None or Broken | [20 empty] | Built-up with Concrete Deck |  | Maine | ME | Maine
#2 Fuel Oil |  |  |  | 11 | Rooftop Air Source Heat Pump |  | Packaged Rooftop Air Source Heat Pump | ahu | [24 empty] | Built-up with Metal Deck |  | Maryland | MD | Md.
District Chilled Water (provided from location, not in the building) |  |  |  | 12 | Water Loop Heat Pump |  | Ground Source Heat Pump | zone |  |  |  | Manual thermostat | [20 empty] | Built-up with Wood Deck |  | Massachusetts | MA | Mass.
District Steam (provided from location, not in the building) |  |  |  | 13 | VRF |  | Water-Loop Heat Pump | zone |  |  |  | Programmable thermostat | [20 empty] | Metal Surfacing |  | Michigan | MI | Mich.
District hot water (provided from location, not in the building) |  |  |  | 14 |  |  | Variable Refrigerant Flow (VRF) | zone |  |  |  | Smart (Wi-Fi connected) thermostat | [20 empty] | Shingles/Shakes |  | Minnesota | MN | Minn.
Propane | [6 empty] | Dedicated Outdoor Air System (DOAS) | ahu |  |  |  | Automatic turn off/shut off control-device automatically turns on/off equipment | [20 empty] | Floor Type |  | Mississippi | MS | Miss.
Coal (anthracite) |  |  |  |  | Ground Source Heat Pump (GSHP) |  | Ventilation Only | ahu |  |  |  | None or Broken | [20 empty] | Concrete Slab |  | Missouri | MO | Mo.
Coal (bituminous) |  |  |  |  | Per Mark, QBAT does not support GSHP; contradicted in other notes however | [27 empty] | Slab on Grade |  | Montana | MT | Mont.
Coke | [32 empty] | Steel Joist |  | Nebraska | NE | Neb.
Renewable | [6 empty] | Asset Score Systems Tables | [25 empty] | Wood Frame |  | Nevada | NV | Nev.
[33 empty] | Wall Type |  | New Hampshire | NH | N.H.
Utility | Input Units | Multiplier to get kBtu |  |  |  |  | Asset Score distribution equipment type | [25 empty] | Brick/Stone on Masonry |  | New Jersey | NJ | N.J.
#2 Fuel Oil | kBtu (thousand Btu) | #2 Fuel OilkBtu (thousand Btu) | 1 |  |  |  | Air Handler | [25 empty] | Brick/Stone on Steel Frame |  | New Mexico | NM | N.M.
#2 Fuel Oil | Mbtu or MMBtu (million Btu) | #2 Fuel OilMbtu or MMBtu (million Btu) | 1000 |  |  |  | Zone Equipment | [25 empty] | Brick/Stone on Wood Frame |  | New York | NY | N.Y.
#2 Fuel Oil | gallons (U.S.) | #2 Fuel Oilgallons (U.S.) | 138 | [29 empty] | Metal Panel/Curtain Wall |  | North Carolina | NC | N.C.
#2 Fuel Oil | liters | #2 Fuel Oilliters | 36.456 | [10 empty] | Alt Cooling |  |  |  | Alt Heating | [6 empty] | Alt Fuel | [7 empty] | Siding on Steel Frame |  | North Dakota | ND | N.D.
District Chilled Water (provided from location, not in the building) | kBtu (thousand Btu) | District Chilled Water (provided from location, not in the building)kBtu (thousand Btu) | 1 |  |  |  | Asset Score HVAC System Type-AHU | Default Cooling Source | Default Heating Source | Default Heating Fuel | Alt Cooling | Alt Heating | Alt Fuel | 0 | 1 | 2 | 3 | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 0 | 1 | 2 | 3 | 4 | 5 | New Form |  | Siding on Wood Frame |  | Ohio | OH | Ohio
District Chilled Water (provided from location, not in the building) | Mbtu or MMBtu (million Btu) | District Chilled Water (provided from location, not in the building)Mbtu or MMBtu (million Btu) | 1000 |  | Four Pipe Fan Coil Unit |  | Packaged Rooftop Air Conditioner | DX | Furnace | Gas | 0 | 1 | #REF! |  | Chiller | District Chilled Water | No Cooling |  | No heating | District Hot Water | Boiler | Baseboard - Electric | No heating | No central heating |  | Electricity | Gas | Gas | Electricity | Gas | Natural Gas | 0 | Window Framing Type |  | Oklahoma | OK | Okla.
District Chilled Water (provided from location, not in the building) | Ton Hours | District Chilled Water (provided from location, not in the building)Ton Hours | 12 |  |  |  | Packaged Rooftop VAV with Hot Water Reheat | DX | Boiler | Gas | 0 | 2 | #REF! |  | District Chilled Water |  | DX Cooling |  |  | District Steam | District Hot Water | Baseboard - Hot Water | Furnace |  |  | Fuel Oil | Fuel Oil | Electricity |  | Electricity | Electricity | 1 | Metal |  | Oregon | OR | Ore.
District Chilled Water (provided from location, not in the building) | GJ (billion joules) | District Chilled Water (provided from location, not in the building)GJ (billion joules) | 947.817 |  |  |  | Packaged Rooftop VAV with Electric Reheat | DX | Furnace | Electricity | 0 | 6 | #REF! |  |  |  | Chiller |  |  |  | District Steam | Radiator - Hot Water | Boiler |  |  | Propane | Propane | Fuel Oil |  | Fuel Oil | Fuel Oil | 2 | Metal with Thermal Breaks |  | Pennsylvania | PA | Pa.
District Steam (provided from location, not in the building) | kBtu (thousand Btu) | District Steam (provided from location, not in the building)kBtu (thousand Btu) | 1 |  |  |  | Packaged Heat Pump | DX | Heat Pump | Electricity | 0 | 0 | 0 |  |  |  | District Chilled Water |  |  |  |  | No heating | Heat Pump |  |  |  |  | Propane |  | Propane | Propane | 3 | Wood/Vinyl/Fiberglass |  | Rhode Island | RI | R.I.
District Steam (provided from location, not in the building) | Mbtu or MMBtu (million Btu) | District Steam (provided from location, not in the building)Mbtu or MMBtu (million Btu) | 1000 |  |  |  | VAV with Hot Water Reheat | Chiller | Boiler | Gas | 2 | 2 | #REF! | [9 empty] | District Hot Water | [6 empty] | District Hot Water | District Hot Water | 4 | Window Glass Type |  | South Carolina | SC | S.C.
District Steam (provided from location, not in the building) | Lbs. | District Steam (provided from location, not in the building)Lbs. | 1.194 |  |  |  | VAV with Electric Reheat | Chiller | Furnace | Electricity | 2 | 6 | #REF! | [9 empty] | District Steam | [6 empty] | District Steam | District Steam | 5 | Single-pane |  | South Dakota | SD | S.Dak.
District Steam (provided from location, not in the building) | kLbs (thousand pounds) | District Steam (provided from location, not in the building)kLbs (thousand pounds) | 1194 |  |  |  | Warm Air Furnace | No cooling | Furnace | Gas | 0 | 0 | 1 | [17 empty] | Coal | 6 | Double-pane |  | Tennessee | TN | Tenn.
District Steam (provided from location, not in the building) | MLbs (million pounds) | District Steam (provided from location, not in the building)MLbs (million pounds) | 1194000 |  |  |  | Dedicated Outdoor Air System (DOAS) | No default: select source | No default: select source | No default: select fuel | 3 | 5 | #REF! | [17 empty] | Biomass | 7 | Double-pane with Low-E |  | Texas | TX | Tex.
District Steam (provided from location, not in the building) | therms | District Steam (provided from location, not in the building)therms | 100 |  |  |  | Ventilation Only | No cooling | No heating | N/A |  |  |  | Natural Gas | Electricity | Fuel Oil | Propane | District Hot Water | District Steam | Coal | Biomass | [11 empty] | Triple-pane |  | Utah | UT | Utah
District Steam (provided from location, not in the building) | GJ (billion joules) | District Steam (provided from location, not in the building)GJ (billion joules) | 947.817 | [10 empty] | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | [11 empty] | Triple-pane with Low-E |  | Vermont | VT | V.T.
District Steam (provided from location, not in the building) | kg | District Steam (provided from location, not in the building)kg | 2.632 |  |  |  | Asset Score HVAC System Type-Zone Equipment | [6 empty] | Packaged Terminal Air Conditioner | Packaged Terminal Air Conditioner | Packaged Terminal Air Conditioner | Packaged Terminal Air Conditioner | Packaged Terminal Air Conditioner | Packaged Terminal Air Conditioner | Packaged Terminal Air Conditioner | Packaged Terminal Air Conditioner | [11 empty] | Window-to Wall Ratio | calculated by dividing the glazing (glass) area by the gross wall area | Virginia | VA | Va.
Coal (anthracite) | kBtu (thousand Btu) | Coal (anthracite)kBtu (thousand Btu) | 1 |  | *if window AC, PTAC, or FCU has been chosen | * | Packaged Terminal Air Conditioner (PTAC) | DX | Furnace | Gas | 0 | 4 | #REF! | Rooftop Air Conditioner and Gas Furnace | VAV with Hot Water Reheat | VAV with Hot Water Reheat | Rooftop Air Conditioner and Gas Furnace | VAV with Hot Water Reheat | VAV with Hot Water Reheat | VAV with Hot Water Reheat | VAV with Hot Water Reheat | [11 empty] | Number of windows |  | Washington | WA | Wash.
Coal (anthracite) | Mbtu or MMBtu (million Btu) | Coal (anthracite)Mbtu or MMBtu (million Btu) | 1000 |  | Must add separate heating system (baseboard, radiator) | * | Window Air Conditioner | DX | No heating | N/A | 0 | 4 | #REF! | VAV with Hot Water Reheat | VAV with Electric Reheat | VAV with Electric Reheat | VAV with Hot Water Reheat | VAV with Electric Reheat | VAV with Electric Reheat | VAV with Electric Reheat | VAV with Electric Reheat | [13 empty] | West Virginia | WV | W.Va.
Coal (anthracite) | Tons | Coal (anthracite)Tons | 25090 |  |  | * | Four Pipe Fan Coil Unit | Chiller | Boiler | Gas | 2 | 2 | #REF! | VAV with Electric Reheat | Packaged VAV with Hot Water Reheat | Packaged VAV with Hot Water Reheat | VAV with Electric Reheat | Packaged VAV with Hot Water Reheat | Packaged VAV with Hot Water Reheat | Packaged VAV with Hot Water Reheat | Packaged VAV with Hot Water Reheat | [11 empty] | Lighting Entry Type |  | Wisconsin | WI | Wis.
Coal (anthracite) | Lbs | Coal (anthracite)Lbs | 12.545 |  |  |  | Packaged Terminal Heat Pump | DX | Heat Pump | Electricity | 0 | 0 | 0 | Packaged VAV with Hot Water Reheat | Packaged VAV with Electric Reheat | Packaged VAV with Electric Reheat | Packaged VAV with Hot Water Reheat | Packaged VAV with Electric Reheat | Packaged VAV with Electric Reheat | Packaged VAV with Electric Reheat | Packaged VAV with Electric Reheat | [11 empty] | Number of Fixtures |  | Wyoming | WY | Wyo.
Coal (anthracite) | kLbs (thousand pounds) | Coal (anthracite)kLbs (thousand pounds) | 12545 |  |  |  | Ground Source Heat Pump | DX | Heat Pump | Electricity | 0 | 0 | 0 | Packaged VAV with Electric Reheat | Window AC + Baseboard | Window AC + Baseboard | Packaged VAV with Electric Reheat | Window AC + Baseboard | Window AC + Baseboard | Window AC + Baseboard | Window AC + Baseboard | [11 empty] | Percent area served |  | District of Columbia | DC | D.C.
Coal (anthracite) | MLbs (million pounds) | Coal (anthracite)MLbs (million pounds) | 12545000 |  |  |  | Water-Loop Heat Pump | DX | Heat Pump | Electricity | 0 | 0 | 0 | Window AC + Baseboard | Four Pipe Fan Coil Unit | Four Pipe Fan Coil Unit | Window AC + Baseboard | Four Pipe Fan Coil Unit | Four Pipe Fan Coil Unit | Four Pipe Fan Coil Unit | Four Pipe Fan Coil Unit | [13 empty] | Guam | GU | Guam
Coal (anthracite) | Tonnes (metric) | Coal (anthracite)Tonnes (metric) | 27685.355 |  |  |  | Variable Refrigerant Flow (VRF) | VRF | VRF | Electricity | 0 | 0 | 0 | Four Pipe Fan Coil Unit | Warm Air Furnace | Warm Air Furnace | Four Pipe Fan Coil Unit | Warm Air Furnace | Warm Air Furnace | Warm Air Furnace | Warm Air Furnace | [11 empty] | Lighting type |  | Marshall Islands | MH | M.I.
Coal (anthracite) | GJ (billion joules) | Coal (anthracite)GJ (billion joules) | 947.817 |  |  |  | Baseboard (no cooling) | None | Electric | Electricity | 0 | 3 | #REF! | 0: Warm Air Furnace; 1: Packaged Terminal Heat Pump; 3: Warm Air Furnace | [11 empty] | CFL |  | Northern Mariana Island | MP | CNMI
Coal (bituminous) | kBtu (thousand Btu) | Coal (bituminous)kBtu (thousand Btu) | 1 |  |  |  | Radiator (no cooling) | None | Boiler | Gas | 0 | 2 | #REF! | 1: Rooftop Air Source Heat Pump | [11 empty] | Fluorescent T5/High Output T5 |  | Puerto Rico | PR | P.R. or PUR
Coal (bituminous) | Mbtu or MMBtu (million Btu) | Coal (bituminous)Mbtu or MMBtu (million Btu) | 1000 |  | Asset Score HVAC System Type-Zone Heating Equipment | [8 empty] | 1: Water Loop Heat Pump | [11 empty] | Fluorescent T8/Super T8 |  | Virgin Islands | VI | V.I.
Coal (bituminous) | Tons | Coal (bituminous)Tons | 24930 | [10 empty] | 1: VRF | [11 empty] | Fluorescent T12/High Output T12
Coal (bituminous) | Lbs | Coal (bituminous)Lbs | 12.465 | [29 empty] | High-Pressure Sodium
Coal (bituminous) | kLbs (thousand pounds) | Coal (bituminous)kLbs (thousand pounds) | 12465 | [29 empty] | Incandescent/Halogen
Coal (bituminous) | MLbs (million pounds) | Coal (bituminous)MLbs (million pounds) | 12465000 | [29 empty] | LED
Coal (bituminous) | Tonnes (metric) | Coal (bituminous)Tonnes (metric) | 27482 | [29 empty] | Mercury Vapor
Coal (bituminous) | GJ (billion joules) | Coal (bituminous)GJ (billion joules) | 947.817 | [29 empty] | Metal Halide
Coke | kBtu (thousand Btu) | CokekBtu (thousand Btu) | 1
Coke | Mbtu or MMBtu (million Btu) | CokeMbtu or MMBtu (million Btu) | 1000 | [7 empty] | Shape | Sides | Letters | [19 empty] | Mounting Type
Coke | Tons | CokeTons | 24800 | [7 empty] | Rectangle | 2 | A | [19 empty] | Recessed | bar: 0
Coke | Lbs | CokeLbs | 12.4 |  |  |  | Cooling Source |  |  |  | L | 4 | B | 0: 2 | [11 empty] | Surface
Coke | kLbs (thousand pounds) | CokekLbs (thousand pounds) | 12400 |  |  |  | No Cooling |  |  |  | T | 5 | C | 0: 3 | [11 empty] | Pendant
Coke | MLbs (million pounds) | CokeMLbs (million pounds) | 12400000 |  |  |  | DX Cooling |  |  |  | U | 6 | D | 0: 3
Coke | Tonnes (metric) | CokeTonnes (metric) | 27339 |  |  |  | Chiller |  |  |  | H | 8 | E | 0: 4 | [11 empty] | Lamps per Fixture
Coke | GJ (billion joules) | CokeGJ (billion joules) | 947.817 |  |  |  | District Chilled Water | [5 empty] | F | [19 empty] | 1
Propane | kBtu (thousand Btu) | PropanekBtu (thousand Btu) | 1 |  |  |  | Compressor Type (if Plant Loop:Chiller) | Does Not Apply |  |  |  |  | G | [19 empty] | 2
Propane | Mbtu or MMBtu (million Btu) | PropaneMbtu or MMBtu (million Btu) | 1000 |  |  |  | Scroll/Screw | [5 empty] | H | [19 empty] | 3
Propane | CF (cubic feet) | PropaneCF (cubic feet) | 1 |  |  |  | Reciprocating | [25 empty] | 4
Propane | ccf (hundred cubic feet) | Propaneccf (hundred cubic feet) | 102.6 |  |  |  | Centrifugal | [25 empty] | 5
Propane | Kcf (thousand cubic feet) | PropaneKcf (thousand cubic feet) | 1026 |  |  |  | Condenser Type (if Plant Loop:Chiller) | Does Not Apply | [24 empty] | 6
Propane | gallons (U.S.) | Propanegallons (U.S.) | 138 |  |  |  | Air | [25 empty] | 7
Propane | liters | Propaneliters | 36.456 |  |  |  | Water | [25 empty] | 8
Propane | GJ (billion joules) | PropaneGJ (billion joules) | 947.817 |  |  |  | Condenser Plant Type
District hot water (provided from location, not in the building) | kBtu (thousand Btu) | District hot water (provided from location, not in the building)kBtu (thousand Btu) | 1 |  |  |  | Cooling Tower
District hot water (provided from location, not in the building) | Mbtu or MMBtu (million Btu) | District hot water (provided from location, not in the building)Mbtu or MMBtu (million Btu) | 1000 |  |  |  | Ground Heat Exchanger
District hot water (provided from location, not in the building) | therms | District hot water (provided from location, not in the building)therms | 100 |  |  |  | Condenser Plant Type
District hot water (provided from location, not in the building) | GJ (billion joules) | District hot water (provided from location, not in the building)GJ (billion joules) | 947.817 |  |  |  | Cooling Tower
District hot water (provided from location, not in the building) | kg | District hot water (provided from location, not in the building)kg | 2.632 |  |  |  | Ground Heat Exchanger
Renewable | kWh | RenewablekWh | 3.412 |  |  |  | Heating Source
Renewable | Other | RenewableOther |  |  |  |  | No Heating
Central Furnace
Heat Pump (electric)
Service Hot Water System | [6 empty] | Boiler
No service hot water | [6 empty] | District Hot Water
Non-condensing gas boiler | [6 empty] | Heating Fuel (if source = Boiler/Furnace) | Does Not Apply
Condensing gas boiler | [6 empty] | Natural Gas
Tankless gas heating | [6 empty] | Electricity
Electric resistance boiler | [6 empty] | Fuel Oil
Tankless electric resistance heating, incl. point of use | [6 empty] | Propane
Heat pump water heating | [6 empty] | District Heat Type
Fuel oil boiler | [6 empty] | Hot Water
Coal boiler | [6 empty] | Steam
Biomass boiler | [6 empty] | Draft Type | Does Not Apply
Other (not listed) | [6 empty] | Mechanical
Other Draft
[7 empty] | Sink/Source (heat pump) | Does Not Apply
Air
Ground
Water